## Sheet3
RCP Coordination
RCP Coordination - 2Bdr Layout
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to provide mark-ups for FA system - Check for any CO detectors (kitchen) in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - 4Bdr Layout
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to provide mark-ups for FA system - Check for any CO detectors (kitchen) in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Main Lobby
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Main Lift Lobby
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Multipurpose/Resident's Lounge
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Multipurpose/Resident's Lounge
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Library/Co-working space
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Gym
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Apartment Corridor (Select the floor having any diversions)
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Kids Play Area
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Cinema
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Spa
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID
RCP Coordination - Changing Room
Obtain the ID ceiling layout with air terminal placeholders
SLT to provide RCP with lighting positions
Elect Engr to carry out emergency lighting calculation
Elect Engr to provide mark-ups for EM ltg, FA system & motion sensors - Check for any strobes in the brand guidelines
Elect Engr to provide mark-ups for access panels (for any devices within the ceiling void)
Elect modeler to model EM ltg, FA devices & access panels and coordinate with other disciplines
Elect BIM lead to review the model
Elect Engr to review the layouts
PHE Engr to carry out hot water sizing & circulation pump (where applicable) sizing calculation
PHE Engr to provide mark-ups for Sprinklers & access panels for any services above false celing - Check sprinkler types in the brand guidelines
PHE modeler to model all sprinklers & piping and coordinate with other disciplines
PHE BIM lead to review the model
PHE Engr to review the layouts
HVAC Engr to provide mark-ups for AC terminals & access panels - Check brand guidelines for the locations of FCU's, any other requirements
HVAC modeler to model all the air terminals, FCU's & duct routing and coordinate with other disciplines
HVAC BIM lead to review the model
HVAC Engr to review the layouts
BIM Leads to review the model and clear any clashes
Engrs to review and validate the coordinated RCP
Any comments to be addressed by the modelers
Engrs to share the final coordinated RCP to ID